## BILL - Summary
SANSA Space Science
ELECTRONIC, DIGITAL AND BMS SERVICES
Bill of Materials
Item N° | Description
SUMMARY PAGE
Phase 1
1 | BILL N° 1A - PERIMETER INFRASTRUCTURE
2 | BILL N° 1B - GATEHOUSE
3 | BILL N° 1C - INTERNAL ACCESS CONTROL
4 | BILL N° 1D - CCTV
5 | BILL N° 1E - ELECTRIC FENCE
6 | BILL N° 1F - FIRE PANEL UPGRADE
7 | BILL N° 1G - BMS INSTALLATION
8 | BILL N° 1H - DIGITAL TWIN for BMS
9 | Contingency allowance for builders work, integration, comissioning and training | 250000
10 | Subtotal (items 1 to 9 )
11 | Add VAT (% of Item 10)
12 | Total Contract Value (Items 10 and 11)
Total Contract Value Carried to the Form of Tender

## 1A. Perimeter Infrastructure
SANSA Space Science
Perimeter Infrastructure for Electric Fence Energizers (Phase 1) and Perimeter CCTV (Phase 2)
Bill of Materials
Ref | Description | Unit | Qty | Unit Price | Installation Price | Total
Network
1.1.1 | 24 Port PoE+ Managed L3 Network Core Switch (Server Room) 4 Port SFP 1Gig | Each | 1
1.1.2 | 24 Port PoE+ Managed L3 Network Access Switch (Gatehouse) 4 Port SFP 1Gig | Each | 1
1.1.3 | Field Hardened 4 port PoE+ Managed L2 Field Switch (Equipment Enlosures) 2 Port SFP 1 Gig, 120W power Budget | Each | 2
1.1.4 | Field Hardened 8 port PoE+ Managed L2 Field Switch (Equipment Enlosures) 2 Port SFP 1 Gig, 240W power Budget | Each | 1
1.1.5 | 4 Core CST Single Mode Fibre incl. Slack | m | 1950
1.1.6 | SFP 1Gig SFP - SM - (Up to 2km) | Each | 10
1.1.7 | 19" Rack Mount Fibre Patchpanel Complete with Brush and Blank Panels, Fibre Optic Management Kit, Glands and Blanks (Server Room) | Each | 2
1.1.8 | DIN Rail Mount Fibre Termination Enclosure complete with Fibre Optic Management Kit, Glands and Blanks (Field Enclosures) | Each | 3
1.1.9 | SC Singlemode Midcouplers and 1m SC Unjacketed 10/125 Pigtails | Each | 24
1.1.10 | 2m SC-LC Duplex 10/125 Patchleads | Each | 24
1.1.11 | OTDR Testing and Hand-over Documentation | Each | 1
Equipment Enclosures
1.2.1 | Greenbro Floor Standing Double Door Kiosk 6 Way c/w Electrical Lugs, Bussbar, MCB's, isolator, Surge Suppression, Nuetral and Earth Bar. | Each | 3
1.2.2 | Concrete Mounting Plinth c/w 2 110mm and 2 x 50mm Sleeve Entries | Each | 3
Civil works, Sleeving, Conduit and Manholes
1.3.1 | Trenching 300mm(W) x 850(D) c/w Barricading, Danger tape and Bedding and making good. | m | 1260
1.3.2 | Brick Build manhole 1,000x1,000x1,000(d) c/w Concrete Coping and Lockable Lid. | Each | 0
1.3.3 | Prefabricated Manhole 750x850D Concrete Coping, Lockable Lid and Slack Brackets | Each | 3
1.3.4 | Prefabricated Manhole 750x500D Concrete Coping,Lockable Lid. | Each | 7
1.3.5 | Core Drill under tar (gatehouse) install 1 x 110mm Sleeve | m | 6
1.3.6 | 50mm HDPE Sleeve (50m Lengths with Connectors) | m | 420
1.3.7 | 110mm HDPE Sleeve (6m lengths with Connectors) | m | 1260
Power Reticulation
1.4.1 | 3 Core 4mm² SWA Cable | m | 1680
1.4.2 | Electrical Terminations at Equipment Enclosure | Each | 3
1.4.3 | Electrical Earthing | Each | 3
1.4.4 | Electrical CoC's | Each | 3
P's & G's
1.5.1 | Project Management | Hrs | 12
1.5.2 | Network Configuration | hrs | 16
1.5.3 | Health and Safety | Sum | 1
1.5.4 | Insurances | Sum | 1
Sub Total Excl. VAT
* = or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative

## 1B. Gatehouse
SANSA Space Science
Gatehouse CCTV and Access Control
Bill of Materials
Ref | Description | Unit | Qty | Unit Price | Installation Price | Total
Physical Access Control Barriers
2.1.1 | Turnstar Titan full Height Turnstile | Each | 1
2.1.2 | Velocity Raptor Spike Barrier 3m Surface Mount | Each | 2
2.1.3 | Traffic Lights Red and Green | Each | 2
2.1.4 | Uninstall and reinstall existing Vehicle Booms to create a mantrap scenario for vehicle to prevent tailgating. | Each | 2
2.1.5 | Anti Pedestrian Curtain | Each | 2
2.1.6 | Inductive Loops | Each | 6
2.1.7 | Barrier Logic for Interlocking | Each | 2
Access Control
2.2.1 | Gallagher* Controller 6000 | Each | 1
2.2.2 | HBUS 4 in 2 Out Door Module | Each | 2
2.2.3 | Gallagher* T15 reader | Each | 4
2.2.4 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 50
CCTV
2.3.1 | Axis* P3245-LVEFacial Capture Camera per Lane | Each | 2
2.3.2 | Axis* P3245-LVE 9mm Licence Plate Capture and General Overview Camera per Lane | Each | 2
2.3.3 | Axis* M4216-LV Facial Recognition Camera for Turnstile ingress and Egress | Each | 2
2.3.4 | Hanwha* Techwin QNV6021R IR Dome Camera for General Overview inside the gatehouse | Each | 1
2.3.5 | BOXER-8240AI-A2-1010 Nvidia Xavier AGX | Each | 1
2.3.6 | Milestone Xprotect Professional+ License | Each | 8
2.3.7 | Milestone Xprotect Professional+ MIPS License | Each | 4
2.3.8 | SAFR perpetual License | Each | 4
2.3.9 | CaMMRa LPR App FF LPR License | Each | 2
2.3.10 | CAT6 Cable | m | 150
2.3.11 | Mounting Pedestal for Facial Camera and T15 Reader 316 Stainless Steel | Each | 2
2.3.12 | Mounting Pedestal for LPR/Overview Camera | Each | 2
P's & G's
2.4.1 | Project Management | Hrs | 12
2.4.2 | Setup, Configuration and Commissioning | Hrs | 16
2.4.3 | Health and Safety | Sum | 1
2.4.4 | Insurances | Sum | 1
Sub Total Excl. VAT
* = or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative

## 1C. Internal Access Control
SANSA Space Science
Internal Access Control
Bill of Materials
Ref | Description | Unit | Qty | Unit Price | Installation Price | Total
Access Control - Control Room
3.1.1 | Dell Vostro 3888 Access Control Workstation | Each | 1
3.1.2 | Dell 24" Monitor | Each | 1
3.1.3 | Gallagher* Command Central Software | Each | 1
3.1.4 | Gallagher* Door License | Each | 58
3.1.5 | REST API SAFR Traka License | Each | 1
3.1.6 | Software Setup and Configuation | Hrs | 32
3.1.7 | GO SANSA application Software | PC Sum | 1
Space Weather Centre Access Control
3.2.1 | Gallagher* Controller 6000 | Each | 1
3.2.2 | Dual Cabinet c/w PSU | Each | 1
3.2.3 | HBUS 8 in 4 Out Door Controller | Each | 1
3.2.4 | HBUS 8 Input Board | Each | 2
3.2.5 | Gallagher* T20 reader/Alarm Keypad | Each | 1
3.2.6 | Gallagher* T15 reader | Each | 8
3.2.7 | Green Break-glass | Each | 9
3.2.8 | Magnetic Door Lock 300K Monitored | Each | 9
3.2.9 | Z Bracket for above | Each | 9
3.2.10 | Door Closer | Each | 9
3.2.11 | RTE No Touch Pushbutton S/Steel | Each | 9
3.2.12 | Netgear 728TP-200EUS 24Port PoE Switch c/w Patchpanel and 2 x 1GSFP 2Km | Each | 1
3.2.13 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 180
Space Weather Centre Access Control
3.3.1 | Gallagher* Controller 6000 | Each | 3
3.3.2 | Dual Cabinet c/w PSU | Each | 3
3.3.3 | HBUS 8 in 4 Out Door Controller | Each | 2
3.3.4 | HBUS 8 Input Board | Each | 6
3.3.5 | Gallagher* T20 reader/Alarm Keypad | Each | 1
3.3.6 | Gallagher* T15 reader | Each | 22
3.3.7 | Green Break-glass | Each | 23
3.3.8 | Magnetic Door Lock 300K Monitored | Each | 23
3.3.9 | Z Bracket for above | Each | 23
3.3.10 | Door Closer | Each | 23
3.3.11 | RTE No Touch Pushbutton S/Steel | Each | 23
3.3.12 | Netgear 728TP-200EUS 24Port PoE Switch c/w Patchpanel and 2 x 1GSFP 2Km | Each | 1
3.3.13 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 460
Student Accommodation Access Control
3.4.1 | Gallagher* Controller 6000 | Each | 2
3.4.2 | Dual Cabinet c/w PSU | Each | 2
3.4.3 | HBUS 8 in 4 Out Door Controller | Each | 2
3.4.4 | HBUS 8 Input Board | Each | 10
3.4.5 | Gallagher* T20 reader/Alarm Keypad | Each | 1
3.4.6 | Gallagher* T15 reader | Each | 18
3.4.7 | Green Break-glass | Each | 19
3.4.8 | Magnetic Door Lock 300K Monitored | Each | 19
3.4.9 | Z Bracket for above | Each | 19
3.4.10 | Door Closer | Each | 19
3.4.11 | RTE No Touch Pushbutton S/Steel | Each | 19
3.4.12 | Netgear 728TP-200EUS 24Port PoE Switch c/w Patchpanel and 2 x 1GSFP 2Km | Each | 1
3.4.13 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 380
Guest Accommodation Access Control
3.5.1 | Gallagher* Controller 6000 | Each | 1
3.5.2 | Dual Cabinet c/w PSU | Each | 1
3.5.3 | HBUS 8 in 4 Out Door Controller | Each | 1
3.5.4 | HBUS 8 Input Board | Each | 1
3.5.5 | Gallagher* T20 reader/Alarm Keypad | Each | 1
3.5.6 | Gallagher* T15 reader | Each | 4
3.5.7 | Green Break-glass | Each | 5
3.5.8 | Magnetic Door Lock 300K Monitored | Each | 5
3.5.9 | Z Bracket for above | Each | 5
3.5.10 | Door Closer | Each | 5
3.5.11 | RTE No Touch Pushbutton S/Steel | Each | 5
3.5.12 | Netgear 728TP-200EUS 24Port PoE Switch c/w Patchpanel and 2 x 1GSFP 2Km | Each | 1
3.5.13 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 100
Generator Room Access Control
3.6.1 | HBUS 4 in 2 Out Door Controller | Each | 1
3.6.2 | Gallagher* T15 reader | Each | 1
3.6.3 | Green Break-glass | Each | 1
3.6.4 | Magnetic Door Lock 300K Monitored | Each | 1
3.6.5 | Z Bracket for above | Each | 1
3.6.6 | Door Closer | Each | 1
3.6.7 | RTE No Touch Pushbutton S/Steel | Each | 1
3.6.8 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 100
Fort Knox
3.7.1 | Gallagher* Controller 6000 | Each | 1
3.7.2 | Dual Cabinet c/w PSU | Each | 1
3.7.3 | HBUS 8 in 4 Out Door Controller | Each | 1
3.7.4 | HBUS 8 Input Board | Each | 1
3.7.5 | Gallagher* T20 reader/Alarm Keypad | Each | 1
3.7.6 | Gallagher* T15 reader | Each | 5
3.7.7 | Green Break-glass | Each | 6
3.7.8 | Magnetic Door Lock 300K Monitored | Each | 6
3.7.9 | Z Bracket for above | Each | 6
3.7.10 | Door Closer | Each | 6
3.7.11 | RTE No Touch Pushbutton S/Steel | Each | 6
3.7.12 | Netgear 728TP-200EUS 24Port PoE Switch c/w Patchpanel and 2 x 1GSFP 2Km | Each | 1
3.7.13 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 120
Vehicle Garage
3.8.1 | Gallagher* Controller 6000 | Each | 1
3.8.2 | Dual Cabinet c/w PSU | Each | 1
3.8.3 | HBUS 8 in 4 Out Door Controller | Each | 1
3.8.4 | HBUS 8 Input Board | Each | 1
3.8.5 | Gallagher* T20 reader/Alarm Keypad | Each | 0
3.8.6 | Gallagher* T15 reader | Each | 7
3.8.7 | Green Break-glass | Each | 7
3.8.8 | Magnetic Door Lock 300K Monitored | Each | 7
3.8.9 | Z Bracket for above | Each | 7
3.8.10 | Door Closer | Each | 0
3.8.11 | RTE No Touch Pushbutton S/Steel | Each | 7
3.8.12 | Netgear 728TP-200EUS 24Port PoE Switch c/w Patchpanel and 2 x 1GSFP 2Km | Each | 1
3.8.13 | Mylar, 3-Pair Twisted, 0,22mm Screened for RS485 comms. | m | 140
Sub Total Excl. VAT
* = or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative

## 1D. CCTV
SANSA Space Science
CCTV System
Bill of Materials
Ref | Description | Unit | Qty | Unit Price | Installation Price | Total
Control Room CCTV System
4.1.1 | Dell* Vostro 3888 Workstation Dual Graphics Display | Each | 1
4.1.2 | Dell* 24" Monitor | Each | 2
4.1.3 | Milestone Xprotect Professional+ Base | Each | 1
4.1.4 | Milestone Xprotect Professional+ License | Each | 13
4.1.5 | Husky 350 Server 32TB HDD | Each | 1
4.1.6 | Milestone Gallagher Integration License | Each | 1
4.1.7 | Husky Setup and Configuration of system | hrs | 16
4.1.8 | Align and Focus of Cameras | Each | 7
Space Weather Centre CCTV
4.2.1 | Hanwha* Techwin 2Mp IR Dome Camera | Each | 10
4.2.2 | CAT6 Cable | Each | 500
Student Accommodation CCTV
4.3.1 | Hanwha* Techwin 2Mp IR Dome Camera | Each | 1
4.3.2 | CAT6 Cable | Each | 50
Guest Accommodation CCTV
4.4.1 | Hanwha* Techwin 2Mp IR Dome Camera | Each | 1
4.4.2 | CAT6 Cable | Each | 50
Generator Room CCTV
4.5.1 | Hanwha* Techwin 2Mp IR Dome Camera | Each | 1
4.5.2 | CAT6 Cable | Each | 50
P's & G's
4.6.1 | Project Management | Hrs | 7
4.6.2 | Setup, Configuration and Commissioning | Hrs | 8
4.6.3 | Health and Safety | Sum | 1
4.6.4 | Insurances | Sum | 1
Sub Total Excl. VAT
* = or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative

## 1E. Electric Fence
SANSA Space Science
Electric Fence
Bill of Materials
Ref | Description | Unit | Qty | Unit Price | Installation Price | Total
Physical Access Control Barriers
5.1.1 | Gallagher* F42 Dual Zone Controller (to create 8 manageable zones of approximately 200m each | Each | 4
5.1.2 | F3X Cable Manager | Each | 4
5.1.3 | Fence Zone License | Each | 4
5.1.4 | Reconfigure Fence to compliance to SANS 10222-3:2016 to include: Warning Signs every 10m, Installation of earth spikes at 30m Intervals, Change configuration of fence to Live-Earth, Install Line clamps on all HT Connectors and cover all joints with weather resistant compound for 1,017m | Sum | 1
5.1.5 | Alarm Strobe Light,Lightning Diverter Kit, Earth Kit, Siren and Compliance Certificate | Set | 4
P's & G's
5.2.1 | Project Management | Hrs | 4
5.2.2 | Setup, Configuration and Commissioning | Hrs | 4
5.2.3 | Setup of CCTV Camera pop ups per zone on Gallagher* GUI | Hrs | 8
5.2.4 | Health and Safety | Sum | 1
5.2.5 | Insurances | Sum | 1
Sub Total Excl. VAT
* = or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative

## 1F. Fire Panel Upgrade
SANSA Space Science
Fire Panel Upgrade
Bill of Materials
Ref | Description | Unit | Qty | Unit Price | Installation Price | Total
Main Control Panel
6.1.1 | ZP2-ZI-20 Ziton* ZP2 20 zone LEDs - large cabinet only | Each | 1
6.1.2 | ZP2-F2-99 Ziton* ZP2 Fire Panel - large cabinet - 2 Loop - standard controls - no Zone LEDS | Each | 1
6.1.3 | 2010-2-PAK-RMMB Activates Modbus over TCP/IP on the Ethernet port. | Sum | 1
6.1.4 | 2010-2-NB Network card for ZP2/2X panel | Set | 1
6.1.5 | BS131N Battery 12V 18 AH | Hrs | 2
Remedial Work
6.2.1 | PH30 Cable to be looped through each existing (7 off) Analogue Panels | m | 1200
6.2.2 | Ziton* Input Unit | Each | 14
6.2.3 | Reconfigure Cable with removal of ZP1 Panels to include Joints, extensions and CoC | Sum | 1
P's & G's
6.3.1 | Project Management | Hrs | 6
6.3.2 | Setup, Configuration and Commissioning | Hrs | 16
6.3.3 | Health and Safety | Sum | 1
6.3.4 | Insurances | Sum | 1
Sub Total Excl. VAT
* = or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative

## 1G. BMS
SANSA Space Science
Building Management System
Bill of Materials
Description | Unit | Qty | Unit Price | Installation Price | Total
Supervisor and Energy Manager
89EMNXS25 - Energy Manager - Energy Manager Base License 25 Meter Points (Base) | Each | 1
89SUP-10 - Tridium** Supervisor License Supervisor with connectivity for 10 JACE only (requires maintenance). | Each | 1
89SUP-10-SMA-INIT - Tridium* Supervisor License Supervisor 10 Maintenance – 1 Year Initial. | Each | 1
89SUP-DEVICE-50 - Tridium* Supervisor License Upgrade Supervisor add Driver Capacity 2500 points. | Each | 1
89DR-S-MLS-16 - Tridium* Supervisor Camera License Milestone 16 Camera Driver - Supervisor | Each | 1
Controllers
89JACE-8000-CSE-002 - Tridium* Controls JACE 8000 - Base units without SD card or clip. Order case lot 15. World Wide (WW) WLAN Country Code. Must use with branded clip in accordance with current trademark usage guidelines | Each | 3
89JACE-8000-USD-CSE - Tridium* Controls JACE 8000 - SD Card. | Each | 3
89J8CLIP-Tridium* - Tridium* Controls JACE 8000 - Clip with Tridium* Logo. | Each | 3
89IO-R-34 - Tridium* Controls NRIO module with 16 Universal Inputs, 10 Relay Outputs, 8 Analog Outputs. | Each | 11
89NC-8010 - ridium Jace 8000 License Core & 500 Proxy Points (requires 8010 maintenance) | Each | 3
89SMA-8010-1YR-INIT - Tridium* Jace 8000 License 8010 - 1 Year Maintenance Initial (18 months). | Each | 3
Sensors
95HAQ61L - LCD Indoor AQ - Modbus. Temp, Humidity, PM, C02, VOC | Each | 11
95EEM400-D-MO-MID - Energy Meter Energy Meter 3P+N 65A 2T LCD Modbus MID | Each | 11
installation and Configuration | Sum | 1
Sub Total Excl. VAT
* = or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative

## 1H. DT
SANSA Space Science
Common Data Environment and Digital Twin
Bill of Materials
Digital Twin Price List USD
Licenses
Qty | License Type | Price per License | Terms | # of Periods | Price per Annum. | Price per Annum (Rands)
1 | EcoDomus* or equal approved User License (2-4 users) |  | per month | 12
1 | EcoDomus* Mobile App |  | per month | 12
1 | EcoDomus* Integrator (CMMS or BMS or CAFM) |  | perpetual | 1
1 | EcoDomus* Enterprise Server License (on-premises) |  | perpetual | 1
1 | EcoDomus* API |  | per year | 1
1 | PDF Markups/Tags add-on single license |  | per year | 1
1 | CAD Markups (DWG, DGN) add-on single license |  | per year | 1
1 | CAD Server for Markups (on-premises) |  | perpetual | 1
|  |  |  | Subtotal | 0
Annual Maintenance and Support
1 | Annual Helpdesk Support - 20% of RRP |  |  |  | 0
|  |  |  | Subtotal | 0
Services
Qty | Item | Cost | Type |  | Total | Total
8 | BIM QC Consulting |  | per hour
8 | BIM Project Management |  | per hour
8 | BIM Modeling Refinement |  | per hour
8 | Process Consulting, Level 2 |  | per hour
8 | Process Consulting, Level 1 |  | per hour
8 | Project Management |  | per hour
8 | Software Project Management |  | per hour
8 | Software Development/Deployment |  | per hour
8 | Training (remote) |  | per hour
8 | Training/consulting (on-site) |  | per day
|  |  |  | Subtotal | 0
3D Reality Capture for buildings in SANSA precinct
Qty | Item | Cost | Type |  | Total | Total
10 | Drone Photogrammetry |  | sum
10 | Scan Point Clouds |  | sum
10 | 3D Revit Model |  | sum
10 | IFC of Revit Model |  | sum
10 | COBie data file |  | sum
10 | Digital Twin modle with CDE |  | sum
|  |  |  | Subtotal | 0
* = | or equal approved by engineer. Tenderer to quote on specification and provide a separate BOQ for any alternative