## Index (hidden)
1 | BILL NO. 1
PRELIMINARIES AND GENERAL
2 | BILL NO. 2
LOW VOLTAGE INSTALLATION
3 | BILL NO. 3
MEDIUM VOLTAGE DISTRIBUTION SWITCHGEAR
4 | BILL NO. 4
POWER INSTALLATION FITTINGS AND ACCESSORIES
4.1 Warehouse
4.2 Office
4.3 DC Office
5 | BILL NO. 5
LIGHTING INSTALLATION FITTINGS AND ACCESSORIES
5.1 All Areas
5.2 Warehouse
5.3 Offices
5.4 DC Offices
BILL NO. 6
HVAC INSTALLATION
BILL NO. 7
FIRE DETECTION INSTALLATION
BILL NO. 8
PC SUMS

## PART C1.2.4 STANDBY GENERATOR
SANSA MATJIESFONTEIN
ELECTRICAL INSTALLATION - STANDBY GENERATOR INSTALLATION
PART C1.2.4
BILL OF QUANTITIES
[7 empty] | MAIN BUILDING | ENERGY CENTRE | GUARD HOUSE | SITE
ITEM | DESCRIPTION |  | UNIT | QTY | RATE | TOTAL | QTY | QTY | QTY | QTY
1.0 | BILL NO. 1
PRELIMINARIES AND GENERAL
CONDITIONS OF CONTRACT
Provisional and General items in order to comply with the Conditions of Contract associated with the works contained in this document.
1.1 | Test, Commission and prepare As-Built drawings |  | UNIT: Item; QTY: 1; TOTAL: 0
1.2 | Laminated drawings for all Plant rooms and Network rooms |  | UNIT: Item; QTY: 1; TOTAL: 0
1.3 | Insurances |  | UNIT: Item; QTY: 1; TOTAL: 0
1.4 | Mobilisation |  | UNIT: Item; QTY: 1; TOTAL: 0
1.5 | Project Management |  | UNIT: Item; QTY: 1; TOTAL: 0
1.6 | Site Tools and Instrumentation |  | UNIT: Item; QTY: 1; TOTAL: 0
1.7 | Maintenance and Guarantee for 12 months after practical completion |  | UNIT: Item; QTY: 1; TOTAL: 0
1.8 | Site Establishment |  | UNIT: Item; QTY: 1; TOTAL: 0
1.9 | Site Running Costs |  | UNIT: Item; QTY: 1; TOTAL: 0
1.10 | Demobilisation |  | UNIT: Item; QTY: 1; TOTAL: 0
1.11 | Vehicles |  | UNIT: Item; QTY: 1; TOTAL: 0
1.12 | Allowance to fix price for the duration of the contract |  | UNIT: Sum; QTY: 1; TOTAL: 0
The rates in the remainder of the Bill of Quantities (BOQ) must exclude these costs, as they are to be priced under this item.
1.13 | Remote Location Overhead Costs |  | UNIT: Sum; QTY: 1; TOTAL: 0
Provide a lump sum cost for all additional expenses associated with working at the remote project site, located approximately 230 km from Cape Town and 5 km south of Matjiesfontein. This includes transportation of materials and personnel, accommodation, site establishment, and any other costs related to the remote nature of the location. The rates in the remainder of the Bill of Quantities (BOQ) must exclude these costs, as they are to be priced under this item.
1.14 | OTHER ITEMS
Any other items tenderers may wish to add of a preliminary and general nature not specifically mentioned above in order to comply with the specification and contract conditions. Please add below:
1.14.1 |  |  | UNIT: Item; QTY: 1; TOTAL: 0
1.14.2 |  |  | UNIT: Item; QTY: 1; TOTAL: 0
1.14.3 |  |  | UNIT: Item; QTY: 1; TOTAL: 0
| TOTAL - BILL NO 1 CARRIED TO FINAL SUMMARY PAGE |  | TOTAL: 0
2.0 | BILL NO. 2
GENERATOR INSTALLATION
2.1.1 | 630KVA Prime rated generator |  | UNIT: Supply; QTY: 2; TOTAL: 0
| Close Coupeled diesel driven generator in weather proof mild steel powder coated canopy inclusive of sound attenuation as per the specification to achieve 70dB @ 7m. 314 Stainless steel exhaust section outside canopy. Lockable doors. Light inside the canopy. |  | UNIT: Install; QTY: 2; TOTAL: 0
2.1.1.1 | Extra over cost for 3CR12 Canopy. |  | UNIT: Supply; QTY: 2; TOTAL: 0
2.1.2 | Set mounted circuit breaker control panel with motorised alternator protection circuit breaker and control equipment. |  | UNIT: Supply; QTY: 2; TOTAL: 0
| Controls to be allowed to achieve the functionality as required by the specification. Allowance is to be made for an appropriate size enclosure for the termination of the applicables as specified in the cable schedule |  | UNIT: Install; QTY: 2; TOTAL: 0
2.1.3 | Rigging as required |  | UNIT: Supply; QTY: 2; TOTAL: 0
Rigging to place all equipment into position as per the drawing SMFN-CAI-EE-C-DR-002_01 - Generator Building Equipment & Diesel Reticulation Layout
2.1.4 | Control Wiring and Equipment |  | UNIT: Supply; QTY: 2; TOTAL: 0
| Control equipment as required in the MLV to achieve the functionality required as per the specification. Remote Monitoring, BMS Communications Interface, Load test switch, Audible alarm and flashing beacon. |  | UNIT: Install; QTY: 2; TOTAL: 0
2.1.5 | Commissioning of Generators |  | UNIT: Supply; QTY: 2; TOTAL: 0
Complete to achieve functionality as required by the technical specification.
2.1.6 | Extended Maintenance of twenty-four[24] months on Generators |  | UNIT: Supply; QTY: 2; TOTAL: 0
2.1.7 | Extended Guarantee for twenty-four[24] months |  | UNIT: Supply; QTY: 2; TOTAL: 0
2.1.8 | Main MLV panel - Refer to drawings |  | UNIT: Supply; QTY: 0
| SMFN-CAI-EE-XX-DR-005_01 - MLV Single Line Diagram |  | UNIT: Install; QTY: 0
2.1.9 | Generator Sync Panel A |  | UNIT: Supply; QTY: 1; TOTAL: 0
| SMFN-CAI-EE-XX-DR-005_22 - GSP-A Generator Sync Panel A |  | UNIT: Install; QTY: 1; TOTAL: 0
2.1.10 | Generator Sync Panel A |  | UNIT: Supply; QTY: 1; TOTAL: 0
| SMFN-CAI-EE-XX-DR-005_23 - GSP-A Generator Sync Panel B |  | UNIT: Install; QTY: 1; TOTAL: 0
2.1.1 | Other items the tenderer may consider necessary to complete the installation
2.1.11.1 |  |  | UNIT: Supply; QTY: 1; TOTAL: 0
|  |  | Install | 1 |  | 0
2.1.11.2 |  |  | UNIT: Supply; QTY: 1; TOTAL: 0
|  |  | Install | 1 |  | 0
| TOTAL - BILL NO 2 CARRIED TO FINAL SUMMARY PAGE |  | TOTAL: 0
3.0 | BILL NO. 3
DIESEL FUEL SUPPLY SYSTEM AND BULK STORAGE
3.1 | 1000L base/belly tank | Supply | UNIT: Each; QTY: 2; TOTAL: 0
| Double skin base tank per generator | Install | UNIT: Each; QTY: 2; TOTAL: 0
3.2 | Fuel pipes and hoses | Supply | UNIT: Sum; QTY: 1; TOTAL: 0
| All pipes, valves, sensors, solinoids, etc to achieve the required system performance as per the specification. | Install | UNIT: Sum; QTY: 1; TOTAL: 0
3.3 | Filling Kiosk | Supply | UNIT: Each; QTY: 1; TOTAL: 0
| Filling kiosk with bulk tank level gauges, low and high level alarms, pump start/stop controls, slector switches, etc | Install | UNIT: Each; QTY: 1; TOTAL: 0
3.4 | Diesel Filler Connection at filling kiosk | Supply | UNIT: Each; QTY: 4; TOTAL: 0
| Filling point with non return nozzle for bowser connection inclusive of all pipework from filling kiosk to bulk tank. | Install | UNIT: Each; QTY: 4; TOTAL: 0
3.5 | Sump Drain Connection at filling kiosk | Supply | UNIT: Each; QTY: 4; TOTAL: 0
| Connection for pumping out diesel from bulk diesel storage sump inclusive of all pipework. Sup drain to terminate at the bottom of a sump pit and on the outside the bund wall. | Install | UNIT: Each; QTY: 4; TOTAL: 0
3.6 | Bulk Diesel Storage - 23000L | Supply | UNIT: Each; QTY: 4; TOTAL: 0
| Above Ground bulk tank as per the specification | Install | UNIT: Each; QTY: 4; TOTAL: 0
3.7 | Pumps and auxiliary equipment for fuel system | Supply | UNIT: Sum; QTY: 1; TOTAL: 0
| All pumps, valves, level switches, and pipe connection not already allowed. | Install | UNIT: Sum; QTY: 1; TOTAL: 0
3.8 | Duvalco Diesel Polishing/Filtering Sytem or equal | Supply | UNIT: Each; QTY: 4; TOTAL: 0
| System per bulk tank inclusive of all components required. | Install | UNIT: Each; QTY: 4; TOTAL: 0
3.9 | Other items not included above that are not of a preliminary nature and have not been covered in any other sections of the tender document. Note : Items included under this section shall be of a technical nature and be applicable to the context of this section
3.9.1 |  | Supply | UNIT: Each; QTY: 1; TOTAL: 0
|  | Install | UNIT: Each; QTY: 1; TOTAL: 0
3.9.2 |  | Supply | UNIT: Each; QTY: 1; TOTAL: 0
|  | Install | UNIT: Each; QTY: 1; TOTAL: 0
| TOTAL - BILL NO 3 CARRIED TO FINAL SUMMARY PAGE |  | TOTAL: 0
4.0 | BILL NO. 4
REMOTE MONITORING
4.1 | Monitoring for Generators | Supply | UNIT: Each; QTY: 2; TOTAL: 0
| Allowance for all communication equipment to allow for the genrator parameters and alarms to be communicated to a web interface. Sim cards to be procured by the client. | Install | UNIT: Each; QTY: 2; TOTAL: 0
4.2 | Other items not included above that are not of a preliminary nature and have not been covered in any other sections of the tender document. Note : Items included under this section shall be of a technical nature and be applicable to the context of this section
4.2.1 |  | Supply | UNIT: Each; QTY: 1; TOTAL: 0
|  | Install | UNIT: Each; QTY: 1; TOTAL: 0
4.2.1 |  | Supply | UNIT: Each; QTY: 1; TOTAL: 0
|  | Install | UNIT: Each; QTY: 1; TOTAL: 0
| TOTAL - BILL NO 4 CARRIED TO FINAL SUMMARY PAGE |  | TOTAL: 0
5.0 | BILL NO. 5
MISCELLANEOUS
5.1 | Signage for plantroom as per specification | Supply | UNIT: Each; QTY: 2; TOTAL: 0
| “Automatic start-up” signage on each generator | Install | UNIT: Each; QTY: 2; TOTAL: 0
5.2 | Signage for filling kiosk as per specification | Supply | UNIT: Sum; QTY: 1; TOTAL: 0
| Bulk tank size notification | Install | UNIT: Sum; QTY: 1; TOTAL: 0
Identification of filling nozzle
Identification of sump drain
Identification of earth bar
5.3 | Signage for Bulk Storage as per specification | Supply | UNIT: Sum; QTY: 1; TOTAL: 0
| Tank Number Identification | Install | UNIT: Sum; QTY: 1; TOTAL: 0
Identification of earth bar
“No Smoking”
“No Open Flames”
5.4 | Provision of hearing protection | Supply | UNIT: Sum; QTY: 1; TOTAL: 0
| Supply and install a wall mounted rack housing four (2) off SABS approved ear muffs | Install | UNIT: Sum; QTY: 1; TOTAL: 0
| TOTAL - BILL NO 5 CARRIED TO FINAL SUMMARY PAGE |  | TOTAL: 0
6.0 | BILL NO. 6
GENERAL
6.1 | Protection of equipment during construction | Supply | UNIT: No; QTY: 1; TOTAL: 0
|  | Install | UNIT: No; QTY: 1; TOTAL: 0
6.2 | Other items not included above that are not of a preliminary nature and have not been covered in any other sections of the tender document. Note : Items included under this section shall be of a technical nature and be applicable to the context of this section | Supply | UNIT: No; QTY: 1; TOTAL: 0
|  | Install | UNIT: No; QTY: 1; TOTAL: 0
6.3 | Council electrical department, pollution and noise control approvals | Supply | UNIT: No; QTY: 1; TOTAL: 0
|  | Install | UNIT: No; QTY: 1; TOTAL: 0
6.4 | Allowance for air travel, rental car and accommodation for one night for the engineer to witness the FAT. (If the FAT is in Cape Town this is not applicable) | Supply | UNIT: No; QTY: 1; TOTAL: 0
|  | Install | UNIT: No; QTY: 1; TOTAL: 0
| TOTAL - BILL NO 6 CARRIED TO FINAL SUMMARY PAGE |  | TOTAL: 0
7.0 | BILL NO. 7
ADDITIONAL ITEMS
7.1 | Other items the tenderer may consider necessary to complete the installation
7.1.1 |  | Supply | UNIT: Each; QTY: 1; TOTAL: 0
|  | Install | UNIT: Each; QTY: 1; TOTAL: 0
7.1.2 |  | Supply | UNIT: Each; QTY: 1; TOTAL: 0
|  | Install | UNIT: Each; QTY: 1; TOTAL: 0
7.1.3 |  | Supply | UNIT: Each; QTY: 1; TOTAL: 0
|  | Install | UNIT: Each; QTY: 1; TOTAL: 0
| TOTAL - BILL NO 7 CARRIED TO FINAL SUMMARY PAGE |  | TOTAL: 0
FINAL SUMMARY PAGE
BILL NO. 1
| PRELIMINARIES AND GENERAL |  | TOTAL: 0
BILL NO. 2
| GENERATOR INSTALLATION |  | TOTAL: 0
BILL NO. 3
| DIESEL FUEL SUPPLY SYSTEM AND BULK STORAGE |  | TOTAL: 0
BILL NO. 4
| REMOTE MONITORING |  | TOTAL: 0
BILL NO. 5
| MISCELLANEOUS |  | TOTAL: 0
BILL NO. 6
| GENERAL |  | TOTAL: 0
BILL NO. 7
| ADDITIONAL ITEMS |  | TOTAL: 0
Any other items tenderers may wish to add of a Technical nature not specifically mentioned above in order to comply with the specification and contract conditions. Please add below:
| TOTAL CARRIED TO BILL NO. 16 ELECTRICAL INSTALLATION - STANDBY GENERATOR INSTALLATIONPART C1.2.4 |  | TOTAL: 0